**Section 433.460 Power Fluctuations**

All totalizator systems shall provide the hardware, i.e., voltage regulators, isolation transformers, to minimize the effects of a power fluctuation on the totalizator system. This hardware, insofar as possible, shall maintain power into the computers at a constant level within design limits and shall be selected by the totalizator company for compatibility with its system design.