**Section 310.100 Prohibited Uses**

a) Hand-held fluoroscopic screens shall not be used with x-ray equipment.

b) Shoe-fitting fluoroscopic devices shall not be used.

(Source: Amended at 17 Ill. Reg. 18472, effective January 1, 1994)