**Section 350.1030 Storage Precautions**

Locked radiographic exposure devices, source changers, storage containers, transport containers that contain sealed sources and radiation machines shall be secured to prevent tampering or removal by unauthorized personnel. The licensee shall store radioactive material in a manner that will minimize danger from explosion or fire.

(Source: Amended at 28 Ill. Reg. 12598, effective October 1, 2004)