**Section 201.605 Boiler Notice of Intent to Be Covered by a PBR (Notification)**

The Notification for a PBR pursuant to this Subpart must also include the following information, in addition to the information specified by Section 201.510:

a) The primary fuel that will be burned by the boiler, along with the maximum rated heat input capacity of the boiler (MMBtu/hr) and a copy of the manufacturer's specifications for the boiler.

b) Whether the boiler would be a temporary boiler as defined by 40 CFR 60.41c and 63.7575 or 63.11237 as incorporated by reference in Section 201.104, and, if it would be, a demonstration that the criteria set forth in the definition of a temporary boiler are met, and the expected period or periods in which the boiler would be at a location or locations at the source.

c) The potential emissions of individual pollutants from the boiler in lb/hr, tons/month, and tons/year, including emissions of PM, PM10 (including both filterable and condensable particulate), PM2.5 (including both filterable and condensable particulate), NOx, CO, VOM, and SO2, based on continuous operation of the boiler at its rated heat input capacity combusting its primary fuel, with supporting documentation and calculations.

d) Whether the boiler will have the capability to burn diesel fuel, butane, propane, or refinery fuel gas and, if so, the potential SO2 emissions of the boiler from the use of such fuel.

e) If the boiler or the source at which the boiler would be located does not meet the applicability criteria in 35 Ill. Adm. Code 217.150(a)(1)(A) or (a)(1)(B), an identification of the criteria that are not met, with explanation.

(Source: Added at 41 Ill. Reg. 4140, effective March 24, 2017)