**Section 215.488 Monitors for Air Pollution Control Equipment**

a) At a minimum, continuous monitors for the following parameters shall be installed on air pollution control equipment subject to this Subpart:

1) Destruction device combustion temperature;

2) Temperature rise across a catalytic afterburner bed;

3) Breakthrough of volatile organic material on a carbon adsorption unit;

4) Outlet gas temperature of a refrigerated condenser;

5) Temperature of a non-refrigerated condenser coolant supply system.

b) Each monitor shall be equipped with a recording device.

c) Each monitor shall be calibrated quarterly.

d) Each monitor shall operate at all times while the associated control equipment is operating.

(Source: Amended at 15 Ill. Reg. 8018, effective May 14, 1991)