**Section 215.513 Inspection Program**

The owner or operator shall prepare and conduct an inspection program which, at a minimum, shall require the owner or operator to:

a) Observe visually for leaks from all components subject to Section 215.512 on a weekly basis;

b) Identify all leaking components so that they are obvious and can be located by plant personnel performing visual inspections and Agency personnel performing inspections; and

c) Record in the monitoring log, the information for each leaking component as required by the provisions of Sections 215.514

(Source: Added at 9 Ill. Reg. 13960, effective August 28, 1985)