**Section 217.344 Emissions Limitations**

On and after January 1, 2015, no person shall cause or allow emissions of NOx into the atmosphere from any fossil fuel-fired stationary boiler to exceed the following limitations. Compliance must be demonstrated with the applicable emissions limitation on an ozone season and annual basis.

|  |  |  |
| --- | --- | --- |
| Fuel | Emission Unit Type  | Nox Emissions Limitation (lb/mmBtu) |
| Solid | Boiler | 0.12 |
| Natural gas | Boiler | 0.06 |
| Liquid | Boiler that commenced operation before January 1, 2008 | 0.10 |
|  | Boiler that commenced operation on or after January 1, 2008 | 0.08 |

(Source: Amended at 35 Ill. Reg. 14627, effective August 22, 2011)