**Section 217.345 Combination of Fuels**

The owner or operator of a fossil fuel-fired stationary boiler subject to this Subpart and operated with any combination of fuels must comply with a heat input weighted average emissions limitation to demonstrate compliance with Section 217.344.

(Source: Added at 33 Ill. Reg. 13345, effective August 31, 2009)