**Section 304.106 Offensive Discharges**

In addition to the other requirements of this Part, effluent must not contain settleable solids, floating debris, visible oil, grease, scum or sludge solids. Color, odor and turbidity must be reduced to below obvious levels.

(Source: Amended at 47 Ill. Reg. 4601, effective March 23, 2023)