**Section 307.4208 Ham Processor**

a) Applicability. This Section applies to discharges resulting from the manufacture of hams alone or in combination with other finished products by a ham processor.

b) Specialized Definitions. The Board incorporates by reference 40 CFR 432.81 (2003). This incorporation includes no later amendments or editions.

c) Existing Sources. These sources must comply with the general and specific pretreatment requirements of Subpart B.

d) New Sources

1) The Board incorporates by reference 40 CFR 432.86 (2003). This incorporation includes no later amendments or editions.

2) No person subject to the pretreatment standards incorporated by reference in subsection (d)(1) may cause, threaten, or allow the discharge of any contaminant to a POTW in violation of those standards.

3) "New source" means any building, structure, facility, or installation whose construction commenced after August 28, 1974.

(Source: Amended at 47 Ill. Reg. 4662, effective March 23, 2023)