**Section 307.5200 General Provisions**

a) Applicability

1) The Board incorporates by reference 40 CFR 442.1 (2003). This incorporation includes no later amendments or editions.

2) This Subpart BQ applies to discharges resulting from cleaning the interior of tanks used to transport chemical, petroleum, or food-grade cargos, as defined in the materials incorporated by reference in subsection (a)(1).

b) General Definitions. The Board incorporates by reference 40 CFR 442.2 (2003). This incorporation includes no later amendments or editions.

c) General Pretreatment Standards. Any source subject to this Subpart BQ that introduces process wastewater pollutants into a publicly owned treatment works (POTW) must comply with Subpart B of 35 Ill. Adm. Code 307 and 35 Ill. Adm. Code 310.

(Source: Amended at 47 Ill. Reg. 4662, effective March 23, 2023)