**Section 371.233 Appendices**

a) Schematics

b) Valve Indexes

c) Copies of all forms needed to operate the facility efficiently

d) Process chemicals used at the facility and the names and addresses of the suppliers

e) Design criteria for the facility in tabular form

f) Equipment supplier's information and a list of the sources for service and parts

g) The municipality's sewer use ordinance

h) At a minimum, the references specified in 35 Ill. Adm. Code 371.240(e) shall be acquired or included in the O&M library. A complete list of the O&M library references must be included in the appendices to the O&M Manual. Indicate which references should be periodically replaced or updated.