**Section 371.240 Other Items Available At Municipal Wastewater Treatment Facilities**

In addition to the O&M Manual, the following items must be available at the facility:

a) Warranties for all equipment

b) Construction photos, if applicable

c) Approved shop drawings

d) As-built drawings

e) A complete O&M library which must include, but is not limited to, the following references:

1) American Society for Testing and Materials. Annual Book of Standards, "Part 31: Water," latest edition.

or

APHA, AWWA, and WPCF. Standard Methods for the Examination of Water and Wastewater, latest edition.

or

USEPA. Methods for Chemical Analysis of Water and Waste, latest edition.

2) Current Agency rules and regulations for operator certification.

3) Illinois Pollution Control Board. 35 Ill. Adm. Code Subtitle C, Chapter I (previously uncodified as Chapter 3: Water Pollution), IEPA, Springfield, Illinois.

4) Manufacturers' manuals for all equipment including motor control centers and electrical panels.

5) The Chlorine Institute, Inc. Chlorine Manual, latest edition, New York.

USEPA. Handbook for Analytical Quality Control in Water and Wastewater Laboratories, latest edition.

7) Water Pollution Control Federation. Safety in Wastewater Works, Manual of Practice No.1, Washington, D.C.

8) Water Pollution Control Federation. Operation of Wastewater Treatment Plants, Manual of Practice No.11, Washington, D.C.

9) Water Pollution Control Federation. Paints and Protective Coatings for Wastewater Treatment Facilities, Manual of Practice No.17, Washington, D.C.