**Section 371.271 Appendices**

a) Schematics

b) Valve Indexes

c) Copies of all forms needed to operate the pumping stations and collection system efficiently

d) Chemicals used in the system and the names and addresses of the suppliers

e) Design criteria for the project in tabular form

f) Equipment supplier's information and a list of the sources for service and parts

g) The municipality's sewer use ordinance

h) At a minimum, the references specified in 35 Ill. Adm. Code 371.280(e) shall be acquired or included in the O&M library. A complete list of the O&M library references must be included in the appendices to the O&M Manual. Indicate which references should be periodically replaced or updated.