**Section 374.201 Duplex Pumps**

If grinder pumps are serving more than one building, duplex pumping units shall be required. If the pumps are to be installed for individual buildings, a single pumping unit may be used.

(Source: Amended at 21 Ill. Reg. 12439, effective August 28, 1997)