**Section 391.413 Potassium**

Although most sludges will not contain sufficient potassium levels for optimum nutrient loading, the potassium concentrations in sludge shall be analyzed for the purposes of advising sludge users.