**Section 604.305 Source Water Protection Plan Requirement and Contents**

Each community water supply that treats surface or groundwater as a primary or emergency supply of water must develop a source water protection plan that contains the following minimum elements:

a) a vision statement as set forth in Section 604.310;

b) a source water assessment as set forth in Section 604.315;

c) the objectives set forth in Section 604.320; and

d) an action plan as set forth in Section 604.325.