**Section 611.APPENDIX H Standard Health Effects Language for Public Notification**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant | MCLG1 mg/L | MCL2 mg/L | | Standard health effects language for public notification | |
| National Primary Drinking Water Regulations (NPDWR): | | | | | |
| A. Microbiological Contaminants | | | | | |
| 1a. Corresponding row 1a in appendix B to subpart Q to 40 CFR 141 no longer applies by its own terms. This statement maintains structural consistency with the federal regulations. |  |  | |  | |
| 1b. Corresponding row 1b in appendix B to subpart Q to 40 CFR 141 no longer applies by its own terms. This statement maintains structural consistency with the federal regulations. |  |  | |  | |
| 1c. Fecal indicators (GWR):  i. E. coli  ii. enterococci  iii. coliphage | Zero  None  None | TT  TT  TT | | Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems. | |
| 1d. Groundwater Rule TT Violations | None | TT | | Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches. | |
| 1e. Subpart Y Coliform Assessment and/or Corrective Action Violations | N/A | TT | | Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct assessments to identify problems and to correct any problems that are found.  (The system must use the following applicable sentences:)  We failed to conduct the required assessment.  We failed to correct all identified sanitary defects that were found during the assessment(s). | |
| 1f. Subpart Y E. coli Assessment and/or Corrective Action Violations | N/A | TT | | E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We violated the standard for E. coli, indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct a detailed assessment to identify problems and to correct any problems that are found.  (The system must use the following applicable sentences:)  We failed to conduct the required assessment.  We failed to correct all identified sanitary defects that were found during the assessment that we conducted. | |
| 1g. E. coli | Zero | See footnote  22 | | E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. | |
| 1h. Subpart Y Seasonal System TT Violations | N/A | TT | | When this violation includes the failure to monitor for total coliforms or E. coli prior to serving water to the public, the mandatory language found at Section 611.905(d)(2) must be used. When this violation includes failure to complete other actions, the appropriate elements found in Section 611.905(a) to describe the violation must be used. | |
| 2a. This entry relates to the obsolete MCL for turbidity in 40 CFR 141.13 that does not apply to any supplier in Illinois. This statement maintains structural consistency with the corresponding USEPA rule. | | | | | |
| 2b. Turbidity (SWTR TT) | None | TT7 | | Turbidity has no health effects. However,6 turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| 2c. Turbidity (IESWTR TT and LT1ESWTR TT) | None | TT | | Turbidity has no health effects. However,8 turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| B. Surface Water Treatment Rule (SWTR), Interim Enhanced Surface Water Treatment Rule (IESWTR), Long Term 1 Enhanced Surface Water Treatment Rule (LT1ESWTR), and Filter Backwash Recycling Rule (FBRR) violations: | | | | | |
| 3. Giardia lamblia (SWTR/IESWTR/ LT1ESWTR) | Zero | TT10 | | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| 4. Viruses (SWTR/IESWTR/ LT1ESWTR) |  |  | | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| 5. Heterotrophic plate count (HPC) bacteria9 (SWTR/IESWTR/ LT1ESWTR) |  |  | | Inadequately treated water may contain disease-causing organisms.These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| 6. Legionella (SWTR/IESWTR/ LT1ESWTR) |  |  | | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| 7. Cryptosporidium (IESWTR/FBRR/ LT1ESWTR) |  |  | | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. | |
| C. Inorganic Chemicals (IOCs) | | | | | |
| 8. Antimony | 0.006 | 0.006 | | Some people who drink water containing antimony well in excess of the MCL over many years could experience increases in blood cholesterol and decreases in blood sugar. | |
| 9. Arsenic | 0 | 0.010 | | Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer. | |
| 10. Asbestos (10 μm) | 7 MFL11 | 7 MFL | | Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps. | |
| 11. Barium | 2 | 2 | | Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure. | |
| 12. Beryllium | 0.004 | 0.004 | | Some people who drink water containing beryllium well in excess of the MCL over many years could develop intestinal lesions. | |
| 13. Cadmium | 0.005 | 0.005 | | Some people who drink water containing cadmium in excess of the MCL over many years could experience kidney damage. | |
| 14. Chromium (total) | 0.1 | 0.1 | | Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis. | |
| 15. Cyanide | 0.2 | 0.2 | | Some people who drink water containing cyanide well in excess of the MCL over many years could experience nerve damage or problems with their thyroid. | |
| 16. Fluoride | 4.0 | 4.0 | | Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Fluoride in drinking water at half the MCL or more may cause mottling of children's teeth, usually in children less than nine years old. Mottling, also known as dental fluorosis, may include brown staining or pitting of the teeth, and occurs only in developing teeth before they erupt from the gums. | |
| 17. Mercury (inorganic) | 0.002 | 0.002 | | Some people who drink water containing inorganic mercury well in excess of the MCL over many years could experience kidney damage. | |
| 18. Nitrate | 10 | 10 | | Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. | |
| 19. Nitrite | 1 | 1 | | Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. | |
| 20. Total Nitrate and Nitrite | 10 | 10 | | Infants below the age of six months who drink water containing nitrate and nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. | |
| 21. Selenium | 0.05 | 0.05 | | Selenium is an essential nutrient. However, some people who drink water containing selenium in excess of the MCL over many years could experience hair or fingernail losses, numbness in fingers or toes, or problems with their circulation. | |
| 22. Thallium | 0.0005 | 0.002 | | Some people who drink water containing thallium in excess of the MCL over many years could experience hair loss, changes in their blood, or problems with their kidneys, intestines, or liver. | |
| D. Lead and Copper Rule | | | | | |
| 23. Lead | Zero | TT12 | | Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems. | |
| 24. Copper | 1.3 | TT13 | | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson's Disease should consult their personal doctor. | |
| E. Synthetic Organic Chemicals (SOCs) | | | | | |
| 25. 2,4-D | 0.07 | 0.07 | | Some people who drink water containing the weed killer 2,4-D well in excess of the MCL over many years could experience problems with their kidneys, liver, or adrenal glands. | |
| 26. 2,4,5-TP (silvex) | 0.05 | 0.05 | | Some people who drink water containing silvex in excess of the MCL over many years could experience liver problems. | |
| 27. Alachlor | Zero | 0.002 | | Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer. | |
| 28. Atrazine | 0.003 | 0.003 | | Some people who drink water containing atrazine well in excess of the MCL over many years could experience problems with their cardiovascular system or reproductive difficulties. | |
| 29. Benzo(a)pyrene (PAHs). | Zero | 0.0002 | | Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer. | |
| 30. Carbofuran | 0.04 | 0.04 | | Some people who drink water containing carbofuran in excess of the MCL over many years could experience problems with their blood, or nervous or reproductive systems. | |
| 31. Chlordane | Zero | 0.002 | | Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous system, and may have an increased risk of getting cancer. | |
| 32. Dalapon | 0.2 | 0.2 | | Some people who drink water containing dalapon well in excess of the MCL over many years could experience minor kidney changes. | |
| 33. Di(2-ethylhexyl)adipate | 0.4 | 0.4 | | Some people who drink water containing di(2-ethylhexyl)adipate well in excess of the MCL over many years could experience toxic effects, such as weight loss, liver enlargement, or possible reproductive difficulties. | |
| 34. Di(2-ethylhexyl)-phthalate | Zero | 0.006 | | Some people who drink water containing di(2-ethylhexyl)-phthalate well in excess of the MCL over many years may have problems with their liver or experience reproductive difficulties, and they may have an increased risk of getting cancer. | |
| 35. Dibromochloropropane (DBCP) | Zero | 0.0002 | | Some people who drink water containing DBCP in excess of the MCL over many years could experience reproductive difficulties and may have an increased risk of getting cancer. | |
| 36. Dinoseb | 0.007 | 0.007 | | Some people who drink water containing dinoseb well in excess of the MCL over many years could experience reproductive difficulties. | |
| 37. Dioxin (2,3,7,8-TCDD) | Zero | 3 x 10-8 | | Some people who drink water containing dioxin in excess of the MCL over many years could experience reproductive difficulties and may have an increased risk of getting cancer. | |
| 38. Diquat | 0.02 | 0.02 | | Some people who drink water containing diquat in excess of the MCL over many years could get cataracts. | |
| 39. Endothall | 0.1 | 0.1 | | Some people who drink water containing endothall in excess of the MCL over many years could experience problems with their stomach or intestines. | |
| 40. Endrin | 0.002 | 0.002 | | Some people who drink water containing endrin in excess of the MCL over many years could experience liver problems. | |
| 41. Ethylene dibromide | Zero | 0.00005 | | Some people who drink water containing ethylene dibromide in excess of the MCL over many years could experience problems with their liver, stomach, reproductive system, or kidneys, and may have an increased risk of getting cancer. | |
| 42. Glyphosate | 0.7 | 0.7 | | Some people who drink water containing glyphosate in excess of the MCL over many years could experience problems with their kidneys or reproductive difficulties. | |
| 43. Heptachlor | Zero | 0.0004 | | Some people who drink water containing heptachlor in excess of the MCL over many years could experience liver damage and may have an increased risk of getting cancer. | |
| 44. Heptachlor epoxide | Zero | 0.0002 | | Some people who drink water containing heptachlor epoxide in excess of the MCL over many years could experience liver damage, and may have an increased risk of getting cancer. | |
| 45. Hexachlorobenzene | Zero | 0.001 | | Some people who drink water containing hexachlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys, or adverse reproductive effects, and may have an increased risk of getting cancer. | |
| 46. Hexachlorocyclo-pentadiene | 0.05 | 0.05 | | Some people who drink water containing hexachlorocyclopenta-diene well in excess of the MCL over many years could experience problems with their kidneys or stomach. | |
| 47. Lindane | 0.0002 | 0.0002 | | Some people who drink water containing lindane in excess of the MCL over many years could experience problems with their kidneys or liver. | |
| 48. Methoxychlor | 0.04 | 0.04 | | Some people who drink water containing methoxychlor in excess of the MCL over many years could experience reproductive difficulties. | |
| 49. Oxamyl (Vydate) | 0.2 | 0.2 | | Some people who drink water containing oxamyl in excess of the MCL over many years could experience slight nervous system effects. | |
| 50. Pentachlorophenol | Zero | 0.001 | | Some people who drink water containing pentachlorophenol in excess of the MCL over many years could experience problems with their liver or kidneys, and may have an increased risk of getting cancer. | |
| 51. Picloram | 0.5 | 0.5 | | Some people who drink water containing picloram in excess of the MCL over many years could experience problems with their liver. | |
| 52. Polychlorinated biphenyls (PCBs) | Zero | 0.0005 | | Some people who drink water containing PCBs in excess of the MCL over many years could experience changes in their skin, problems with their thymus gland, immune deficiencies, or reproductive or nervous system difficulties, and may have an increased risk of getting cancer. | |
| 53. Simazine | 0.004 | 0.004 | | Some people who drink water containing simazine in excess of the MCL over many years could experience problems with their blood. | |
| 54. Toxaphene | Zero | 0.003 | | Some people who drink water containing toxaphene in excess of the MCL over many years could have problems with their kidneys, liver, or thyroid, and may have an increased risk of getting cancer. | |
| F. Volatile Organic Chemicals (VOCs) | | | | | |
| 55. Benzene | Zero | 0.005 | | Some people who drink water containing benzene in excess of the MCL over many years could experience anemia or a decrease in blood platelets, and may have an increased risk of getting cancer. | |
| 56. Carbon tetrachloride | Zero | 0.005 | | Some people who drink water containing carbon tetrachloride in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. | |
| 57. Chlorobenzene (monochlorobenzene) | 0.1 | 0.1 | | Some people who drink water containing chlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys. | |
| 58. o-Dichlorobenzene | 0.6 | 0.6 | | Some people who drink water containing o-dichlorobenzene well in excess of the MCL over many years could experience problems with their liver, kidneys, or circulatory systems. | |
| 59. p-Dichlorobenzene | 0.075 | 0.075 | | Some people who drink water containing p-dichlorobenzene in excess of the MCL over many years could experience anemia, damage to their liver, kidneys, or spleen, or changes in their blood. | |
| 60. 1,2-Dichloroethane | Zero | 0.005 | | Some people who drink water containing 1,2-dichloroethane in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 61. 1,1-Dichloroethylene | 0.007 | 0.007 | | Some people who drink water containing 1,1-dichloroethylene in excess of the MCL over many years could experience problems with their liver. | |
| 62. cis-1,2-Dichloroethylene | 0.07 | 0.07 | | Some people who drink water containing cis-1,2-dichloro-ethylene in excess of the MCL over many years could experience problems with their liver. | |
| 63. trans-1,2-Dichloroethylene | 0.1 | 0.1 | | Some people who drink water containing trans-1,2-dichloroethylene well in excess of the MCL over many years could experience problems with their liver. | |
| 64. Dichloromethane | Zero | 0.005 | | Some people who drink water containing dichloromethane in excess of the MCL over many years could have liver problems and may have an increased risk of getting cancer. | |
| 65. 1,2-Dichloropropane | Zero | 0.005 | | Some people who drink water containing 1,2-dichloropropane in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 66. Ethylbenzene | 0.7 | 0.7 | | Some people who drink water containing ethylbenzene well in excess of the MCL over many years could experience problems with their liver or kidneys. | |
| 67. Styrene | 0.1 | 0.1 | | Some people who drink water containing styrene well in excess of the MCL over many years could have problems with their liver, kidneys, or circulatory system. | |
| 68. Tetrachloroethylene | Zero | 0.005 | | Some people who drink water containing tetrachloroethylene in excess of the MCL over many years could have problems with their liver, and may have an increased risk of getting cancer. | |
| 69. Toluene | 1 | 1 | | Some people who drink water containing toluene well in excess of the MCL over many years could have problems with their nervous system, kidneys, or liver. | |
| 70. 1,2,4-Trichlorobenzene | 0.07 | 0.07 | | Some people who drink water containing 1,2,4-trichlorobenzene well in excess of the MCL over many years could experience changes in their adrenal glands. | |
| 71. 1,1,1-Trichloroethane | 0.2 | 0.2 | | Some people who drink water containing 1,1,1-trichloroethane in excess of the MCL over many years could experience problems with their liver, nervous system, or circulatory system. | |
| 72. 1,1,2-Trichloroethane | 0.003 | 0.005 | | Some people who drink water containing 1,1,2-trichloroethane well in excess of the MCL over many years could have problems with their liver, kidneys, or immune systems. | |
| 73. Trichloroethylene | Zero | 0.005 | | Some people who drink water containing trichloroethylene in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. | |
| 74. Vinyl chloride | Zero | 0.002 | | Some people who drink water containing vinyl chloride in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 75. Xylenes (total) | 10 | 10 | | Some people who drink water containing xylenes in excess of the MCL over many years could experience damage to their nervous system. | |
| G. Radioactive Contaminants | | | | | |
| 76. Beta/photon emitters | Zero | 4 mrem/yr14 | | Certain minerals are radioactive and may emit forms of radiation known as photons and beta radiation. Some people who drink water containing beta and photon emitters in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 77. Alpha emitters | Zero | 15 pCi/L15 | | Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 78. Combined radium (226 and 228) | Zero | 5 pCi/L | | Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer. | |
| 79. Uranium | Zero | 30 μg/L | | Some people who drink water containing uranium in excess of the MCL over many years may have an increased risk of getting cancer and kidney toxicity. | |
| H. Disinfection Byproducts (DBPs), Byproduct Precursors, and Disinfectant Residuals: If disinfection is used in the treatment of drinking water, disinfectants combine with organic and inorganic matter present in water to form chemicals called disinfection byproducts (DBPs). USEPA sets standards for controlling the levels of disinfectants and DBPs in drinking water, including trihalomethanes (THMs) and haloacetic acids (HAA5) 16 | | | | | |
| 80. Total trihalomethanes (TTHMs) | N/A | | 0.08017,18 | | Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous system, and may have an increased risk of getting cancer. |
| 81. Haloacetic Acids (HAA5) | N/A | | 0.06019 | | Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |
| 82. Bromate | Zero | | 0.010 | | Some people who drink water containing bromate in excess of the MCL over many years may have an increased risk of getting cancer. |
| 83. Chlorite | 0.08 | | 1.0 | | Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorite in excess of the MCL. Some people may experience anemia. |
| 84. Chlorine | 4 (MRDLG)20 | | 4.0 (MRDL)21 | | Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort. |
| 85. Chloramines | 4 (MRDLG) | | 4.0 (MRDL) | | Some people who use water containing chloramines well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chloramines well in excess of the MRDL could experience stomach discomfort or anemia. |
| 85a. Chlorine dioxide, if any two consecutive daily samples taken at the entrance to the distribution system are above the MRDL | 0.8 (MRDLG) | | 0.8 (MRDL) | | Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.  Add for public notification only: The chlorine dioxide violations reported today are the result of exceedances at the treatment facility only, not within the distribution system that delivers water to consumers. Continued compliance with chlorine dioxide levels within the distribution system minimizes the potential risk of these violations to consumers. |
| 86a. Chlorine dioxide, if one or more distribution system samples are above the MRDL | 0.8 (MRDLG) | | 0.8 (MRDL) | | Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.  Add for public notification only: The chlorine dioxide violations reported today include exceedances of the USEPA standard within the distribution system that delivers water to consumers. Violations of the chlorine dioxide standard within the distribution system may harm human health based on short-term exposures. Certain groups, including fetuses, infants, and young children, may be especially susceptible to nervous system effects from excessive chlorine dioxide exposure. |
| 87. Control of DBP precursors (TOC) | None | | TT | | Total organic carbon (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection byproducts. These byproducts include trihalomethanes (THMs) and haloacetic acids (HAAs). Drinking water containing these byproducts in excess of the MCL may lead to adverse health effects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer. |
| I. Other Treatment Techniques: | | | | | |
| 88. Acrylamide | Zero | TT | | Some people who drink water containing high levels of acrylamide over a long period of time could have problems with their nervous system or blood, and may have an increased risk of getting cancer. | |
| 89. Epichlorohydrin | Zero | TT | | Some people who drink water containing high levels of epichlorohydrin over a long period of time could experience stomach problems, and may have an increased risk of getting cancer. | |

Appendix H – Endnotes

1. "MCLG" means maximum contaminant level goal.

2. "MCL" means maximum contaminant level.

3. This endnote corresponds with endnote 3 to appendix B to subpart Q to 40 CFR 14, which applied only to paragraph 1a in the table, which no longer has operative effect. This statement maintains structural consistency with the corresponding federal rules.

4. In the corresponding USEPA rule, this note relates to an entry for the obsolete MCL for turbidity that does not apply to any supplier in Illinois. This statement maintains structural consistency with the corresponding USEPA rule.

5. In the corresponding USEPA rule, this note relates to an entry for the obsolete MCL for turbidity that does not apply to any supplier in Illinois. This statement maintains structural consistency with the corresponding USEPA rule.

6. There are various regulations that set turbidity standards for different types of systems, including the 1989 SWTR, the 1998 IESWTR, and the 2002 LT1ESWTR. A supplier subject to the SWTR (both filtered and unfiltered) may not exceed 5 NTU. In addition, in filtered systems, 95 percent of samples each month must not exceed 0.5 NTU in systems using conventional or direct filtration and must not exceed 1 NTU in systems using slow sand or diatomaceous earth filtration or other filtration technologies approved by the Agency.

7. "TT" means treatment technique.

8. There are various regulations that set turbidity standards for different types of systems, including the 1989 SWTR, the 1998 IESWTR, and the 2002 LT1ESWTR. For a supplier subject to the IESWTR (a supplier serving at least 10,000 people, using surface water or groundwater under the direct influence of surface water), that use conventional filtration or direct filtration, the turbidity level of a system's combined filter effluent may not exceed 0.3 NTU in at least 95 percent of monthly measurements, and the turbidity level of a system's combined filter effluent must not exceed 1 NTU at any time. A supplier subject to the IESWTR using technologies other than conventional, direct, slow sand, or diatomaceous earth filtration must meet turbidity limits set by the Agency. For a supplier subject to the LT1ESWTR (a supplier serving fewer than 10,000 people, using surface water or groundwater under the direct influence of surface water) using conventional filtration or direct filtration, the turbidity level of the supplier's combined filter effluent may not exceed 0.3 NTU in at least 95 percent of monthly measurements, and the turbidity level of the supplier's combined filter effluent must not exceed 1 NTU at any time. A supplier subject to the LT1ESWTR using technologies other than conventional, direct, slow sand, or diatomaceous earth filtration must meet turbidity limits set by the Agency.

9. The bacteria detected by heterotrophic plate count (HPC) are not necessarily harmful. HPC is simply an alternative method of determining disinfectant residual levels. The number of such bacteria is an indicator of whether there is enough disinfectant in the distribution system.

10. SWTR, IESWTR, and LT1ESWTR treatment technique violations that involve turbidity exceedances may use the health effects language for turbidity instead.

11. Millions of fibers per liter.

12. Action Level = 0.015 mg/L.

13. Action Level = 1.3 mg/L.

14. Millirems per year.

15. Picocuries per liter.

16. A surface water system supplier or a groundwater system supplier under the direct influence of surface water is regulated under Subpart B. A Supbart B community water system supplier or a non-transient non-community system supplier must comply with Subpart I DBP MCLs and disinfectant maximum residual disinfectant levels (MRDLs). A Subpart B transient non-community system supplier using chlorine dioxide as a disinfectant or oxidant must comply with the chlorine dioxide MRDL.

17. Community and non-transient non-community systems must comply with Subpart Y TTHM and HAA5 MCLs of 0.080 mg/L and 0.060 mg/L, respectively (with compliance calculated as a locational running annual average) on the schedule in Section 611.970.

18. The MCL for total trihalomethanes is the sum of the concentrations of the individual trihalomethanes.

19. The MCL for haloacetic acids is the sum of the concentrations of the individual haloacetic acids.

20. "MRDLG" means maximum residual disinfectant level goal.

21. "MRDL" means maximum residual disinfectant level.

22. The supplier is in compliance unless one of the following conditions occurs: (1) the supplier's system has an E. coli-positive repeat sample following a total coliform-positive routine sample; (2) the supplier's system has a total coliform-positive repeat sample following an E. coli-positive routine sample; (3) the supplier fails to take all required repeat samples following an E. coli-positive routine sample; or (4) the supplier fails to test for E. coli when any repeat sample tests positive for total coliform.

BOARD NOTE: This Appendix H derives from appendix B to subpart Q to 40 CFR 141.

(Source: Amended at 47 Ill. Reg. 16486, effective November 2, 2023)