**Section 611.TABLE C Frequency of RDC Measurement**

|  |  |
| --- | --- |
| System Size (Persons Served) | Samples per Day |
| 500 | or | fewer | 1 |
| 501 | to | 1,000 | 2 |
| 1001 | to | 2,500 | 3 |
| 2501 | to | 3,300 | 4 |

The day's samples cannot be taken at the same time. The sampling intervals are subject to Agency review and approval by a SEP.

BOARD NOTE: Derived from 40 CFR 141.74(b)(5) and (c)(2) (2012).

(Source: Amended at 43 Ill. Reg. 8206, effective July 26, 2019)