**Section 615.302 Closure Performance Standard**

The owner or operator must close the unit in a manner that:

a) Controls, minimizes, or eliminates, to the extent necessary to protect human health and the environment, post-closure escape of waste, waste constituents, leachate, contaminated runoff, or waste decomposition products to soils, groundwaters, surface waters, and the atmosphere;

b) Minimizes the need for maintenance during and beyond the post-closure care period; and

c) Complies with the closure requirements of 35 Ill. Adm. Code: Subtitles C and G.

(Source: Amended at 47 Ill. Reg. 7581, effective May 16, 2023)