**Section 617.130 Technology Control Regulations**

The standards and requirements of 35 Ill. Adm. Code 615, 616, 8 Ill. Adm. Code 257, or 77 Ill. Adm. Code 830 apply to the following existing and new activities if the activities are located wholly or partially within 2,500 feet of the wellheads and are located or take place within a regulated recharge area:

a) landfilling, land treating, surface impounding, or piling of special waste and other wastes that could cause contamination of groundwater and that are generated on the site, other than hazardous waste, livestock waste, and construction and demolition debris;

b) storage of special waste in an underground storage tank to which federal regulatory requirements for the protection of groundwater do not apply;

c) storage and related handling of pesticides and fertilizers at a facility for commercial application;

d) storage and related handling of road oils and de-icing agents at a central location; and

e) storage and related handling of pesticides and fertilizers at a central location for distribution to retail sales outlets.

(Source: Amended at 47 Ill. Reg. 7681, effective May 16, 2023)