**Section 652.200 Applicability**

a) Except as provided in subsection (b), Subpart B applies only to community water supplies conducting corrosion prevention projects.

b) Subpart B does not apply to:

1) *buried pipelines, including, but not limited to, pipes, mains, and joints*;

2) *routine maintenance activities of community water supplies, including,* *but not limited to, the use of protective coatings applied by the owner's utility personnel during the course of performing routine maintenance activities*. *Routine maintenance activities include, but are not limited to, the painting of fire hydrants; routine over-coat painting of interior and exterior building surfaces such as floors, doors, windows, and ceilings; and routine touch-up and over-coat application of protective coatings typically found on water utility pumps, pipes, tanks, and other water treatment plant appurtenances and utility owned structures* [415 ILCS 5/14.7]; and

3) equipment or material purchased through a third-party manufacturer or fabricator that is coated prior to purchase or delivery to the community water supply.