**Section 652.210 Corrosion Prevention Standards**

The Agency identifies the following standards for corrosion prevention and mitigation, incorporated by reference in Section 652.130:

a) AWWA D103-09, Factory Coated Bolted Carbon Steel Tanks for Water Storage;

b) AWWA D107-10, Composite Elevated Tanks for Water Storage;

c) NSF/ANSI 60-2014 Drinking Water Treatment Chemicals – Health Effects;

d) NSF/ANSI 61-2014 Drinking Water System Components – Health Effects;

e) NSF/ANSI 372-2011 Drinking Water System Components – Lead Content; and

f) SSPC ACS-1/NACE No. 13 Industrial Coating and Lining Application Specialist Qualification and Certification.