**Section 654.203 Combination of Ground and Surface Water**

a) Water sources consisting of a combination of ground water and surface water shall be evaluated according to Section 654.201 and 654.202.

b) The adequacy of each source shall be calculated. The combined delivery shall exceed the record maximum daily demand.