**Section 702.150 Monitoring and Records**

a) Samples and measurements taken for the purpose of monitoring must be representative of the monitored activity.

b) The permittee must retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation; copies of all reports required by its permit; and records of all data used to complete the application for its permit for a period of at least three years from the date of the sample, measurement, report, or application. This period may be extended by request of the Agency at any time.

c) Records of monitoring information must include all of the following information:

1) The date, exact place, and time of sampling or measurements;

2) The individuals who performed the sampling or measurements;

3) The dates analyses were performed;

4) The individuals who performed the analyses;

5) The analytical techniques or methods used; and

6) The results of such analyses.

d) The owner or operator of a Class VI injection well must retain records as specified in Subpart H of 35 Ill. Adm. Code 730, including Sections 730.184(g), 730.191(f), 730.192(d), 730.193(f), and 730.193(h).

BOARD NOTE: Derived from 40 CFR 144.51(j) and 270.30(j) (2011).

(Source: Amended at 36 Ill. Reg. 1588, effective January 20, 2012)