**Section 703.224 Incinerator Conditions After Trial Burn**

For the purposes of allowing operation of a new hazardous waste incinerator following completion of the trial burn and prior to final modification of the permit conditions to reflect the trial burn results, the Agency may establish permit conditions, including, but not limited to, allowable waste feeds and operating conditions sufficient to meet the requirements of 35 Ill. Adm. Code 724.445, in the permit to a new hazardous waste incinerator. These permit conditions will be effective for the minimum time required to complete sample analysis, data computation, and submission of the trial burn results by the applicant and modification of the facility permit by the Agency.

a) Applicants must submit a statement, with Part B of the permit application, that identifies the conditions necessary to operate in compliance with the performance standards of 35 Ill. Adm. Code 724.443, during this period. This statement should include, at a minimum, restrictions on waste constituents, waste feed rates, and the operating parameters identified in 35 Ill. Adm. Code 724.445;

b) The Agency will review this statement and any other relevant information submitted with Part B of the permit application and specify those requirements for this period most likely to meet the performance standards of 35 Ill. Adm. Code 724.443 based on engineering judgment.

BOARD NOTE: Derived from 40 CFR 270.62(c) (2002).

(Source: Amended at 27 Ill. Reg. 3496, effective February 14, 2003)