**Section 704.187 Monitoring and Reporting**

UIC permits must require by condition monitoring and reporting requirements, as set forth in 35 Ill. Adm. Code 730. The permittee must be required to identify types of tests and methods used to generate the monitoring data. Monitoring of the nature of the injected fluids must comply with applicable analytical methods cited and described in tables IA (List of Approved Biological Methods), IB (List of Approved Inorganic Test Procedures), IC (List of Approved Test Procedures for Non-Pesticide Organic Compounds), ID (List of Approved Test Procedures for Pesticides), IE (List of Approved Radiologic Test Procedures), and IF (List of Approved Methods for Pharmaceutical Pollutants) of 40 CFR 136.3 (Identification of Test Procedures) or in appendix III of 40 CFR 261 (Chemical Analysis Test Methods), each incorporated by reference in 35 Ill. Adm. Code 720.111(b) or, in certain circumstances, by other methods that have been approved in writing by the Agency.

BOARD NOTE: Derived from 40 CFR 144.52(a)(5) (2012).

(Source: Amended at 37 Ill. Reg. 17708, effective October 24, 2013)