**Section** **722.351 Maintenance and Operation of Facility**

An LQG must maintain and operate its facility in a manner that minimizes the possibility of a fire, explosion, or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water which could threaten human health or the environment.

(Source: Added at 42 Ill. Reg. 22047, effective November 19, 2018)