**Section** **722.360 Purpose and Implementation of Contingency Plan**

a) An LQG must have a contingency plan for the facility. The LQG must design the contingency plan to minimize hazards to human health or the environment from fires, explosions, or any unplanned sudden or nonsudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water.

b) The LQG must carry out the provisions of the plan immediately whenever there is a fire, explosion, or release of hazardous waste or hazardous waste constituents which could threaten human health or the environment.

(Source: Added at 42 Ill. Reg. 22047, effective November 19, 2018)