**Section 724.276 Special Requirements for Ignitable or Reactive Waste**

Containers holding ignitable or reactive waste must be located at least 15 meters (50 feet) from the facility's property line.

BOARD NOTE: See Section 724.117(a) for additional requirements.

(Source: Amended at 27 Ill. Reg. 3725, effective February 14, 2003)