**Section 724.299 Special Requirements for Incompatible Wastes**

a) Incompatible wastes, or incompatible wastes and materials must not be placed in the same tank, unless Section 724.117(b) is complied with.

b) Hazardous waste must not be placed in a tank system that has not been decontaminated and which previously held an incompatible waste or material, unless Section 724.117(b) is complied with.

(Source: Amended at 27 Ill. Reg. 3725, effective February 14, 2003)