**Section 732.100 Applicability**

a) This Part applies to owners or operators of any underground storage tank system used to contain petroleum and for which a release was reported to Illinois Emergency Management Agency (IEMA) on or after September 23, 1994, but prior to June 24, 2002, in accordance with regulations adopted by the Office of the State Fire Marshal (OSFM). It also applies to owners or operators that, prior to June 24, 2002, elected to proceed in accordance with this Part pursuant to Section 732.101 of this Part. It does not apply to owners or operators of sites for which the OSFM does not require a report to IEMA or for which the OSFM has issued or intends to issue a certificate of removal or abandonment pursuant to Section 57.5 of the Act [415 ILCS 5/57.5].

b) Upon the receipt of a corrective action order issued by the OSFM prior to June 24, 2002, and pursuant to Section 57.5(g) of the Act, where the OSFM has determined that a release poses a threat to human health or the environment, the owner or operator of any underground storage tank system used to contain petroleum and taken out of operation before January 2, 1974, or any underground storage tank system used exclusively to store heating oil for consumptive use on the premises where stored and which serves other than a farm or residential unit shall conduct corrective action in accordance with this Part.

c) Owners or operators subject to this Part by law or by election shall proceed expeditiously to comply with all requirements of the Act and the regulations and to obtain the No Further Remediation Letter signifying final disposition of the site for purposes of this Part. The Agency may use its authority pursuant to the Act and Section 732.105 of this Part to expedite investigative, preventive or corrective action by an owner or operator or to initiate such action.

d) The following underground storage tank systems are excluded from the requirements of this Part:

1) Equipment or machinery that contains petroleum substances for operational purposes such as hydraulic lift tanks and electrical equipment tanks.

2) Any underground storage tank system whose capacity is 110 gallons or less.

3) Any underground storage tank system that contains a de minimis concentration of petroleum substances.

4) Any emergency spill or overfill containment underground storage tank system that is expeditiously emptied after use.

5) Any wastewater treatment tank system that is part of a wastewater treatment facility regulated under Section 402 or 307(b) of the Clean Water Act (33 USC 1251 *et seq.*).

6) Any UST system holding hazardous waste listed or identified under Subtitle C of the Solid Waste Disposal Act (42 USC 3251 *et seq.*) or a mixture of such hazardous waste or other regulated substances.

e) Owners or operators subject to this Part may, pursuant to 35 Ill. Adm. Code 734.105, elect to proceed in accordance with 35 Ill. Adm. Code 734 instead of this Part.

(Source: Amended at 30 Ill. Reg. 4928, effective March 1, 2006)