**Section 160.110 Installation of Tanks – Grounding of Tanks**

All tanks shall be grounded electrically to permanently moist earth.

(Source: Amended at 9 Ill. Reg. 10012, effective October 1, 1985)