**Section 160.140 Piping – Aboveground**

Aboveground piping shall be protected against mechanical injury to the extent reasonably possible.

(Source: Amended at 9 Ill. Reg. 10012, effective October 1, 1985)