**Section 174.350 Fire Extinguishers**

Every dispensing facility shall provide fire extinguishers that comply with the installation and sizing requirements of NFPA 10, incorporated by reference in Section 174.210, and the testing, maintenance and licensing requirements of 41 Ill. Adm. Code 251 (Fire Equipment Distributor and Employee Standards). Other facilities shall provide extinguishers when required to do so by NFPA 30, 30A or 10, incorporated by reference in Section 174.210.