**Section 176.420 Requirement that UST Components Be Third Party Listed**

a) All installed UST components and ancillary equipment shall be third party listed (see 41 Ill. Adm. Code 174.100) for their performance in the intended use, as well as installed and maintained according to the manufacturer's instructions. Replaceable subcomponents shall be of a type recommended by the manufacturer.

b) In addition to the requirement that all UST components be third party listed for their performance in the intended use, all UST components must also be third party listed or certified by the manufacturer as compatible with the product to be stored under 41 Ill. Adm. Code 175.415. This would include third party listing requirements for components used with alternative or blended fuels and product compatibility requirements for hazardous substance USTs, see 41 Ill. Adm. Code 175.415 and 175.620.

(Source: Amended at 42 Ill. Reg. 10621, effective October 13, 2018)