**Section 180.30 Gasoline Containers Must Be Red**

All receptacles used for the keeping or storing of gasoline, naphtha, benzine or benzol as provided in Section 180.20(a)(1), 180.20(a)(2), and 180.20(a)(3) shall be colored red and no liquids other than gasoline, naphtha, benzine or benzol shall be placed in such red containers. This is in accordance with the Illinois Red Can Gasoline Law (Ill. Rev. Stat. 1979, ch. 127½, pars. 151-152) and a full compliance with the law will be enforced. Containers shall be metal, or of a type approved by the State Fire Marshal.