**Section 200.80 Operation of Installation Prohibited Until Final Inspection and Approval**

Any liquefied petroleum gases installation requiring approval by the OSFM shall not be placed in operation until final inspection and approval is given by the OSFM.