**Section 251.10 Scope**

This Part provides minimum requirements for licensed fire equipment distributors (Class A, B and C), and licensed employees (Class 1, 2 and 3), for servicing, recharging, hydro-testing, installing, repairing, replacing, maintaining or inspecting of all types of fire extinguishers and fire suppression devices or systems.