**Section 240.1870 Plugging of Gas Storage and Observation Wells**

a) Gas storage and observation wells shall be plugged when no longer used for the purpose for which they were permitted. At least twenty-four (24) hours prior to commencing plugging operations, the permittee shall notify the District Office for the county in which the well is located.

b) Gas storage and observation wells shall be plugged in accordance with Subpart K.

(Source: Added at 18 Ill. Reg. 8061, effective May 13, 1994)