**Section 205.1770 Equipment Installation in Special Areas**

a) X-ray Installations. Fixed and mobile X-ray equipment installations, if installed, shall conform to Article 660 of NFPA 70 (see Section 205.115(a)(1)(B)).

b) Installation in non-flammable anesthetizing locations of all electrical equipment and devices, receptacles, and wiring shall comply with NFPA 70. Exception: Isolated electrical systems are not required.

c) An "In Use" warning light or sign shall be installed immediately outside of the entrance to a procedure room in which laser equipment is used when such warning light or sign is required by the manufacturer's specifications.

(Source: Amended at 34 Ill. Reg. 7915, effective May 25, 2010)