**Section 760.1030 Toilet Rooms**

Toilet rooms shall be completely enclosed and shall have tight-fitting, self-closing solid doors, except for louvers that may be necessary for ventilation systems.