**Section 820.120 Wastewater Disposal**

a) Sewage generated from the operation of a swimming facility shall discharge to a public sanitary sewer or to a system that complies with the Department's Private Sewage Disposal Code.

b) Deck or surface area drainage water may be discharged directly to storm sewers, natural drainage areas, or the ground surface. Drainage shall not result in nuisance conditions that create an offensive odor, produce a stagnant wet area, or create an environment for insect breeding.

c) Wash or backwash water from filters shall be discharged to natural drainage areas, sanitary sewers, storm sewers, or to the ground surface in a manner that does not result in a nuisance condition.

(Source: Amended at 37 Ill. Reg. 16539, effective October 4, 2013)