**Section 890.610 General Requirements - Material and Design**

a) Quality of Fixtures: Plumbing fixtures shall comply with approved designs, be constructed from approved materials, have smooth, impervious surfaces and be free of defects and concealed fouling surfaces. (See Appendix A: Table A "Approved Materials and Standards for Plumbing Fixtures" and "Approved Standards for Plumbing Appliances/Appurtenances/Devices".)

b) Used plumbing material, equipment and fixtures for plumbing installations shall comply with this Part.

c) Any plumbing equipment condemned by the Department because of wear, damage, defects or sanitary hazards shall not be used in a plumbing system.