**Section 890.1240 Miscellaneous**

Drain Cock. All storage tanks shall be equipped with drain cocks.