**Section 890.1800 Floor Drains**

a) Location. Floor drains can be located either within a cell or outside the cell.

b) Drain Cover. Each drain cover shall be securely anchored by means of vandal resistant screws.