**Section 467.10 Scope**

The Illinois Large Distributed Energy Resources Interconnection Standard applies to any distributed energy resources (DER) facility operated in parallel with an electric public utility distribution company in Illinois and whose nameplate capacity is greater than 10 megavolt amperes (MVA) (a large DER facility), provided that the electric distribution system facilities to which the DER facility is proposed to interconnect are not subject to the jurisdiction or interconnection requirements of either the Federal Energy Regulatory Commission (FERC) or the applicable Regional Transmission Organization (RTO) (either Midwest Independent Transmission System Operator, Inc. (MISO) or PJM Interconnection, LLC (PJM)).

(Source: Amended at 46 Ill. Reg. 9788, effective May 26, 2022)