**Section 590.10 Standards**

a) Incorporations by Reference

1) The Illinois Commerce Commission (Commission) adopts the standards contained in 49 CFR 191.1, 191.3, 191.5, 191.7, 191.9, 191.11, 191.13, 191.15, 191.17, 191.22, 191.23, 191.25, 191.29, 192 (excluding Section 192.12), 193 and 199 as of April 29, 2021, as its minimum safety standards for the transportation of gas and for gas pipeline facilities.

2) Reports otherwise required under 49 CFR 191, as incorporated by subsection (a)(1), that pertain only to the downhole portion of an "underground natural gas storage facility", as that term is defined in 49 CFR 192.3 as of April 29, 2021, need not be filed with the Commission.

b) No later amendment or editions are incorporated by this Part.

(Source: Amended at 46 Ill. Reg. 10859, effective June 10, 2022)