**Section 600.320 Meter Tests on Premises**

Tests may be made at the place the meter is installed, provided the method employed by the utility for so testing a meter has been submitted to and has received the approval of the Commission.