**Section 530.330 Design of Facilities**

Capacity for foreseeable future expansion needs shall be provided in initial installations.